## Summary Data
Manufacturer | Model Number | Description | Quantity
10x Genomics | Chromium Controller | 10x Genomics Chromium Controller | 1
10x Genomics | Chromium X | 10x Genomics Chromium X | 1
Agilent Technologies | 2100 Bioanalyzer | Agilent Bioanalyzer Electrophoresis System | 2
Agilent Technologies | 4200 TapeStation | Agilent 4200 TapeStation | 2
Agilent Technologies | FEMTO Pulse | Agilent FEMTO Pulse System | 1
Autogen | Autogenprep 965 | automated DNA extraction instrument | 1
Azure | Sapphire | multimode imaging system | 1
Azure | C200 | gel imager | 1
BD | LSRII | flow cytometer | 1
BD | Fortessa | flow cytometer | 1
BD | FACSymphony | flow cytometer | 1
BD | FACSAriaII | cell sorter | 1
BD | FACSAriaIIIu | cell sorter | 1
Beckman Coulter | Allegra X-15R | table-top centrifuge | 1
Beckman Coulter | Biomek FXp | Liquid hander. Includes 96 head and span-8 head | 1
Beckman Coulter | Biomek FXp | Liquid hander. Includes 96 head | 1
Beckman Coulter | MoFlo | cell sorter | 1
Beckman Coulter | MoFlo XDP | cell sorter | 1
Beckman Coulter | Multisizer III | particle counter | 1
Beckman Coulter | MoFlo Astrios | cell sorter | 1
BioRad | S1000 | Thermal Cycler | 5
BioRad | C1000 | Thermal Cycler | 3
BioRad | CFX96 Touch | Real Time PCR Machine | 2
BioRad | CFX384 Touch | Real Time PCR Machine | 1
BioRad | Qx200 system | Droplet Digital PCR system | 1
BioRad | CFX Opus | Real Time PCR Machine | 1
Biotek | Synergy Neo2 | multimode plate reader | 1
Biotek | Epoch 2 | absorbance plate reader | 2
Covaris | S220 | Covaris Shearing System | 1
DeNovix | DS-11 | DS-11 Microvolume Spectrophotometer | 1
Diagenode | Megarupter | DNA Shearing for Long Read Sequencing library prep | 1
Eppendorf | Speedvac | Concentrate RNA/DNA and other uses | 1
Fisher | 550 Sonicator | DNA Shearing | 1
Formulatrix | Mantis | low volume liquid handler | 1
Illumina | NextSeq 500 | Illumina NextSeq 500 | 3
Illumina | NextSeq 550 | Illumina NextSeq 550 | 1
Illumina | NovaSeq 6000 | Illumina NovaSeq 6000 | 1
Illumina | MiSeq | Illumina MiSeq | 1
Labconco | 3400004 | Labconco Purifier Biosafety Cabinet | 1
Logos Biosystems | L20001 | Logos Luna FL automated cell counter | 1
Logos Biosystems | Luna FX7 | Logos Luna FX7 automated cell counter | 1
Miltenyi | OctoMACS | tissue/cell dissociator | 1
Molecular Devices | Spectramax i3 | multimode plate reader | 1
Molecular Devices | FlexStation III | multimode plate reader | 1
Nanostring | nCounter SPRINT | nCounter SPRINT | 1
Oxford Nanopre | Minion | long read sequencer | 1
PacBio | Sequel IIe | HiFi Reads Long read sequencer | 1
Perkin Elmer | PromethION | long read sequencer | 1
Perkin Elmer | Sciclone G3 NGSx Workstation | liquid handler | 1
Sage Science | PIP0001 | Pippin Prep DNA Size Selection System | 1
Sage Science | Blue Pippin | BluePippin DNA Size Selection System | 1
Thermo Fisher | EVOS FL Auto | Fluorescent inverted microscope | 1
Thermo Fisher | Nanodrop ND-1000 | low volume spectrophotometer | 1
Thermo Fisher | Qubit v3 | Fluorescent nucleic acid quantification system | 2
Union Biometrica | BioSorter | large particle sorter | 1